| Document Title | WFCAM HDS container and FITS headers |
| --- | --- |
| Document Number |  |
| Issue | 0.6 |
| Date | 2003-Mar-05 |

| Document Prepared By: | Alan Pickup | Signature and Date |  |
| --- | --- | --- | --- |
| Document Approved By: |  | Signature and Date |  |
| Document Released By: |  | Signature and Date |  |

CHANGE RECORD

| Issue | Date | Section affected | Change Description |
| --- | --- | --- | --- |
| 0.1 | 2002-Oct-16 | all | 1st version for time of Software CDR |
| 0.2 | 2003-Feb-10 | all | Tables include comment records; new headers including “TSCAN”s |
| 0.3 | 2003-Feb-13 | all | Correction of typos (thanks to Jim Lewis); some additional comments; addition of sections listing example headers. |
| 0.4 | 2003-Feb-14 | all | “TSCAN” becomes “JITTER”; added READOUT; expanded environment headers (from JAC); updated examples. |
| 0.5 | 2003-Feb-24 | all | Document title changed form WFCAM FITS headers to WFCAM HDS container and FITS headers |
|  |  |  | New section on contents of HDS container |
|  |  |  | New astrometric (WCS) headers: CDi_j and PV1_n |
|  |  |  | New examples |
| 0.6 | 2003-Mar-05 | all | Removed NOFFSETS header |
|  |  |  | Added SURVEY, SURVEY_I, DETECTID, PCSYSID, SDSUID, CAMROLE and GAIN headers |
|  |  |  | New HDSTRACE and examples |

APPLICABLE DOCUMENTS

| Reference | Document Title | Document Number | Issue & Date |
| --- | --- | --- | --- |

Table of contents

1.	Introduction	5

2.	WFCAM HDS container	5

2.1	Example HDSTRACE of WFCAM container file	6

3.	WFCAM FITS headers	7

3.1	Definition of top level FITS headers	8

3.1.1	Example of top level FITS headers	11

3.2	Definition of frame level FITS headers	13

3.2.1	Example of frame level FITS headers	13

# Introduction

This document illustrates the contents of a typical HDS container file into which WFCAM data is written and provides a list of FITS headers for that instrument. The FITS headers were based initially on those used for imaging with UIST but have been modified in the light of discussions, primarily in the area of the World Coordinate System headers.

# WFCAM HDS container

Data from each of the four WFCAM cameras is to be written as NDF structures into separate HDS container files, usually as one file for each camera for each frame in a microstep pattern.

For a microstep frame, each container holds two NDF structures:

- The first, named I1, holds the image data frame, typically a 2048 by 2048 array of type _REAL. Associated with this is an array of character strings in MORE.FITS that contains the FITS headers specifically associated with this frame.

- The second NDF structure is named HEADER and is a repository for a more comprehensive array FITS headers associated with the observation, again in a MORE.FITS extension. As all NDF structures must, HEADER contains its own DATA_ARRAY but in this case it is simply a dummy one.

The reason for having separate HEADER and I1 structures is to make it possible to add additional I2, I3 etc structures in the same container, with the contents of HEADER being common to all the frames. At present, this facility will be exploited for focus tests, with frames at multiple focus positions being written as separate NDF structures into the one container, each with its own focus setting encoded in its own frame level MORE.FITS.

See the following section for a listing of the typical structure of a WFCAM HDS container file.

## Example HDSTRACE of WFCAM container file

The following listing illustrates the structure of a typical WFCAM container file, generated using the HDSTRACE command.

W20030305_00005  <UKIRT_HDS>

I1             <NDF>           {structure}

DATA_ARRAY     <ARRAY>         {structure}

DATA(2048,2048)  <_REAL>       0,1,2,3,4,5,6,7,8,9,10,11,12,13,

... 4194300,4194301,4194302,4194303

ORIGIN(2)      <_INTEGER>      1,1

HISTORY        <HISTORY>       {structure}

CREATED        <_CHAR*24>      '2003-MAR-05 15:41:51.000'

CURRENT_RECORD  <_INTEGER>     1

RECORDS(10)    <HIST_REC>      {array of structures}

Contents of RECORDS(1)

DATE           <_CHAR*24>      '2003-MAR-05 15:41:53.000'

COMMAND        <_CHAR*9>       '<unknown>'

USER           <_CHAR*3>       'dap'

HOST           <_CHAR*14>      'ness.roe.ac.uk'

DATASET        <_CHAR*56>      '/net/vaila/vaila2/wfcam/raw/20...'

TEXT(2)        <_CHAR*72>      'Arguments: <unknown>','Softwar...'

AXIS(2)        <AXIS>          {array of structures}

Contents of AXIS(1)

DATA_ARRAY     <ARRAY>         {structure}

DATA(2048)     <_REAL>         0.5,1.5,2.5,3.5,4.5,5.5,6.5,

... 2044.5,2045.5,2046.5,2047.5

ORIGIN(1)      <_INTEGER>      1

MORE           <EXT>           {structure}

FITS(4)        <_CHAR*80>      'UTSTART =            15.696944 /...'

... 'FOC_OFF =                0.00...'

HEADER         <NDF>           {structure}

DATA_ARRAY     <ARRAY>         {structure}

DATA(1,1)      <_REAL>         0

ORIGIN(2)      <_INTEGER>      1,1

HISTORY        <HISTORY>       {structure}

CREATED        <_CHAR*24>      '2003-MAR-05 15:41:53.000'

CURRENT_RECORD  <_INTEGER>     1

RECORDS(10)    <HIST_REC>      {array of structures}

Contents of RECORDS(1)

DATE           <_CHAR*24>      '2003-MAR-05 15:41:53.000'

COMMAND        <_CHAR*9>       '<unknown>'

USER           <_CHAR*3>       'dap'

HOST           <_CHAR*14>      'ness.roe.ac.uk'

DATASET        <_CHAR*60>      '/net/vaila/vaila2/wfcam/raw/20...'

TEXT(2)        <_CHAR*72>      'Arguments: <unknown>','Softwar...'

MORE           <EXT>           {structure}

FITS(133)      <_CHAR*80>      ' ','                            ...'

... 'DET_TEMP=                 25....'

End of Trace.

# WFCAM FITS headers

Two tables are provided:

- A table in section 3.1 of top level headers which appears in the MORE.FITS section of an NDF structure called HEADER in the HDS container file;

- A table in section 3.2 of frame level headers that appear in the MORE.FITS section of each integration within the HDS container file.

Each table lists:

•	the FITS keyword of the header;

•	the comment field in the FITS string;

•	the source of the FITS value when WFCAM is used on UKIRT (see below);

•	the usual source of the FITS value during engineering tests.

The possible sources of the FITS value are:

•	fix - the value is fixed in the header definition table;

•	om - set from the sequencer level of observation control via the OM Translator and the OOS task. This is likely to be blank (see below) when WFCAM is run from its non-OM engineering interface;

•	inst - set from the instrument control level (the WFIS);

•	TCS - read from the telescope control system;

•	EPICS - obtained from an EPICS database;

•	data - obtained as attribute alongside data received from camera controller;

•	DHS - set within the DHS system;

•	CSOMON - obtained from CSO monitor task;

•	blank - the FITS value field will be blank

Note that these sources are as seen from the point of view of the DHS.  The ones in the “om” may, in turn, originate in some aspect of a survey definition, be specified by the Observer, or be specified or derived in some other way, for example from an entry in a lookup table read by the OT.

## Definition of top level FITS headers

| FITS name | FITS comment | UKIRT source | Engineering source |
| --- | --- | --- | --- |
|  | Identification: |  |  |
| TELESCOP | Telescope name | fix | fix |
| INSTRUME | Instrument | fix | fix |
| CAMNUM | Number of this camera | data | data |
| DHSVER | Data handling version | fix | fix |
| HDTFILE | Name of global hdt file | fix | fix |
| HDTFILE2 | Name of camera-specific hdt file | fix | fix |
| OBSERVER | Observers names | om | om |
| USERID | Userid logged in as | om | om |
| OBSREF | PATT or other reference | om | om |
| PROJECT | Time-allocation code | om | om |
| SURVEY | Survey name | om | om |
| SURVEY_I | Pointing ID within survey | om | om |
| MSBID | Id min.schedulable block | om | om |
| OBJECT | Object name from telescope | TCS | blank |
|  | Data reduction: |  |  |
| RECIPE | Data reduction recipe to be used | om | om |
| OBSTYPE | Type (BIAS¦DARK¦FLAT¦OBJECT¦SKY¦FOCUS) | inst | inst |
| OBSNUM | Observation number | DHS | DHS |
| GRPNUM | Group number applied to all members | DHS | DHS |
| GRPMEM | Group membership | om | om |
| STANDARD | Is the target a standard star | om | om |
| NJITTER | Number of positions in telescope jitter pattern | om | om |
| JITTER_I | Serial number in this telescope jitter pattern | om | om |
| JITTER_X | [arcsec] X (RA) offset in telescope jitter pattern | om | om |
| JITTER_Y | [arcsec] Y (Dec) offset in telescope jitter pattern | om | om |
| NUSTEP | Number of positions in microstep pattern | om | om |
| USTEP_I | Serial number in this microstep pattern | om | om |
| USTEP_X | [arcsec] X (RA) offset in microstep pattern | om | om |
| USTEP_Y | [arcsec] Y (Dec) offset in microstep pattern | om | om |
| NFOC | Number of positions in focus scan | inst | inst |
| NFOCSCAN | Number of focus scans in focus test | inst | inst |
|  | Astrometric and time information: |  |  |
| UTDATE | UT date as integer in yyyymmdd format | inst | inst |
| DATE-OBS | Date and time (UTC) of start of observation | data | data |
| DATE-END | Date and time (UTC) of end of observation | data | data |
| WCSAXES | Number of axes in world co-ordinate system | fix | fix |
| RADESYS | Mean IAU 1984 equatorial co-ordinates | fix | fix |
| EQUINOX | [yr] Equinox of object position | TCS | fix |
| CTYPE1 | Algorithm type for axis 1 | fix | fix |
| CTYPE2 | Algorithm type for axis 2 | fix | fix |
| CRPIX1 | [pixel] Reference pixel along axis 1 (RA) | inst | inst |
| CRPIX2 | [pixel] Reference pixel along axis 2 (Dec) | inst | inst |
| CRVAL1 | [deg] Right ascension at the reference pixel | TCS | fix |
| CRVAL2 | [deg] Declination at the reference pixel | TCS | fix |
| CRUNIT1 | Unit of right ascension co-ordinates | fix | fix |
| CRUNIT2 | Unit of declination co-ordinates | fix | fix |
| CD1_1 | Transformation matrix element | inst | inst |
| CD1_2 | Transformation matrix element | inst | inst |
| CD2_1 | Transformation matrix element | inst | inst |
| CD2_2 | Transformation matrix element | inst | inst |
| PV1_1 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_2 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_3 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_4 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_5 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_6 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_7 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_8 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| PV1_9 | Pol. coeff. for pixel -> celestial coord. | inst | inst |
| RABASE | [h] Right ascension of base position | TCS | fix |
| DECBASE | [deg] Declination of base position | TCS | fix |
| TRAOFF | [arcsec] Right ascension telescope offset | TCS | fix |
| TDECOFF | [arcsec] Declination telescope offset | TCS | fix |
| AMSTART | Airmass at start of observation | TCS | fix |
| AMEND | Airmass at end of observation | TCS | fix |
| TELRA | [h] Current telescope right ascension | TCS | fix |
| TELDEC | [deg] Current telescope declination | TCS | fix |
| GSRA | [h] Right ascension of guide star | TCS | fix |
| GSDEC | [deg] Declination of guide star | TCS | fix |
|  | Instrument detector configuration: |  |  |
| DETECTOR | Type of detector array used | fix | fix |
| DETECTID | Serial number of detector array | data | data |
| NINT | Number of integrations in observation | data | data |
| DROWS | [pixel] Number of detector rows | data | data |
| DCOLUMNS | [pixel] Number of detector columns | data | data |
| RDOUT_X1 | Start column of array readout | data | data |
| RDOUT_X2 | End column of array readout | data | data |
| RDOUT_Y1 | Start row of array readout | data | data |
| RDOUT_Y2 | End row of array readout | data | data |
| PIXLSIZE | [arcsec] Pixel size | inst | inst |
|  | Detector controller: |  |  |
| PCSYSID | PC system identifier | inst | inst |
| SDSUID | Serial number of SDSU controller | inst | inst |
| READMODE | Name of camera readmode | inst | inst |
| CAPPLICN | Name of camera readout application | data | data |
| CAMROLE | Camera role (master¦slave¦unsync) | inst | inst |
| READOUT | Camera readout (CDS¦NDR¦SAR¦RRR) | data | data |
| EXP_TIME | [s] Integration time per exposure | inst | inst |
| NEXP | Number of exposures in integration | inst | inst |
| READINT | [s] Interval between reads | data | data |
| NREADS | Number of reads per exposure | data | data |
| GAIN | [electrons/ADU] Detector gain | data | data |
|  | Instrument optical configuration: |  |  |
| FILTER | Filter name | EPICS | EPICS or fix |
| FOC_MM | [mm] Base focus position | EPICS | EPICS or fix |
|  | Environment: |  |  |
| AIRTEMP | [degC] Air temperature | EPICS | fix |
| BARPRESS | Ambient pressure | EPICS | fix |
| DEWPOINT | [degC] Dewpoint | EPICS | fix |
| DOMETEMP | [degC] Dome temperature | EPICS | fix |
| HUMIDITY | Relative humidity | EPICS | fix |
| MIRRBSW | [degC] Temperature mirror B SW | EPICS | fix |
| MIRR_NE | [degC] Mirror temperature NE | EPICS | fix |
| MIRR_NW | [degC] Mirror temperature NW | EPICS | fix |
| MIRR_SE | [degC] Mirror temperature SE | EPICS | fix |
| MIRR_SW | [degC] Mirror temperature SW | EPICS | fix |
| MIRRBTNW | [degC] Mirror bottom temp. NW | EPICS | fix |
| MIRRTPNW | [degC] Mirror top temp. NW | EPICS | fix |
| SECONDAR | [degC] Temperature of secondary | EPICS | fix |
| TOPAIRNW | [degC] Top air NW | EPICS | fix |
| TRUSSENE | [degC] Truss leg ENE | EPICS | fix |
| TRUSSWSW | [degC] Truss leg WSW | EPICS | fix |
| WIND_DIR | [deg] Wind direction, azimuth | EPICS | fix |
| WIND_SPD | [km/h] Wind speed | EPICS | fix |
| CSOTAU | Tau at 225 GHz from CSO | CSOMON | fix |
| TAUDATE | Time and date of Tau reading | CSOMON | fix |
| TAUSRC | Source of opacity data | CSOMON | fix |
|  | Engineering: |  |  |
| CNFINDEX | Configuration index | EPICS | EPICS or fix |
| DET_TEMP | [K] Array temperature | EPICS | EPICS or fix |
|  | < More camera engineering data may go here > |  |  |

### Example of top level FITS headers

TELESCOP= 'UKIRT             ' / Telescope name

INSTRUME= 'WFCAM             ' / Instrument

CAMNUM  =                    1 / Number of WFCAM camera (1, 2, 3 or 4)

DHSVER  = 'UKDHS 2002 Oct 31 ' / Data handling version

HDTFILE = 'wfcam.hdt         ' / Name of global hdt file

HDTFILE2= 'wfcam2.hdt        ' / Name of camera-specific hdt file

OBSERVER= 'Mrs Observer'       / Observers names

USERID  = 'abc     '           / Userid logged in as

OBSREF  = 'notPATT99'          / PATT or other reference

PROJECT = 'Example WFCAM data' / Time-allocation code

SURVEY  = 'Demo survey 123'    / Survey name

SURVEY_I= 'B1.99.4 '           / Pointing ID within survey

MSBID   = '42      '           / Id min.-schedulable block

OBJECT  = 'Laboratory wall'    / Object name from telescope

Data Reduction:

RECIPE  = 'QUICK_LOOK'         / Data reduction recipe to be used

OBSTYPE = 'OBJECT  '           / Type (BIAS|DARK|FLAT|OBJECT|SKY|FOCUS)

OBSNUM  =                    5 / Observation number

GRPNUM  =                    5 / Group number applied to all members

GRPMEM  =                    T / Group membership

STANDARD=                    F / Is the target a standard star observation?

NJITTER =                    4 / Number of positions in tel jitter pattern

JITTER_I=                    1 / Serial number in this tel jitter pattern

JITTER_X=                 0.00 / [arcsec] X (RA) offset in tel jitter pattern

JITTER_Y=                 0.00 / [arcsec] Y (Dec) offset in tel jitter pattern

NUSTEP  =                    4 / Number of positions in microstep pattern

USTEP_I =                    1 / Serial number in this microstep pattern

USTEP_X =                 0.00 / [arcsec] X (RA) offset in microstep pattern

USTEP_Y =                 0.00 / [arcsec] Y (Dec) offset in microstep pattern

NFOC    =                    0 / Number of positions in focus scan

NFOCSCAN=                    0 / Number of focus scans in focus test

Astrometric and time information:

UTDATE  = '20030305'           / UT date as integer in yyyymmdd format

DATE-OBS= '2003-03-05T15:41:49Z' / Date and time (UTC) of start of observation

DATE-END= '2003-03-05T15:41:50Z' / Date and time (UTC) of end of observation

WCSAXES =                    2 / Number of axes in world co-ordinate system

RADESYS = 'FK5     '           / Mean IAU 1984 equatorial co-ordinates

EQUINOX =             2000.000 / [yr] Equinox of object position

CTYPE1  = 'RA---ZPN'           / Algorithm type for axis 1

CTYPE2  = 'DEC--ZPN'           / Algorithm type for axis 2

CRPIX1  =               1000.0 / [pixel] Reference pixel along axis 1 (RA)

CRPIX2  =              -1000.0 / [pixel] Reference pixel along axis 2 (Rec)

CRVAL1  =            300.16419 / [deg] Right ascension at the reference pixel

CRVAL2  =           29.9749447 / [deg] Declination at the reference pixel

CRUNIT1 = 'deg     '           / Unit of right ascension co-ordinates

CRUNIT2 = 'deg     '           / Unit of declination co-ordinates

CD1_1   =         0.000000E+00 / Transformation matrix element

CD1_2   =         1.000000E+00 / Transformation matrix element

CD2_1   =         5.000000E-01 / Transformation matrix element

CD2_2   =        -5.000000E-01 / Transformation matrix element

PV1_1   =         0.000000E+00 / Pol.coeff. for pixel -> celestial coord

PV1_2   =         1.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_3   =         2.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_4   =         3.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_5   =         4.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_6   =         5.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_7   =         6.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_8   =         7.000000E-02 / Pol.coeff. for pixel -> celestial coord

PV1_9   =         8.000000E-02 / Pol.coeff. for pixel -> celestial coord

RABASE  =           20.0109458 / [h] Right ascension of base position

DECBASE =           29.9749447 / [deg] Declination of base position

TRAOFF  =                0.000 / [arcsec] Right ascension telescope offset

TDECOFF =                0.000 / [arcsec] Declination telescope offset

AMSTART =                1.771 / Airmass at start of observation

AMEND   =                1.769 / Airmass at end of observation

TELRA   =           20.0123456 / [h] Current telescope right ascension

TELDEC  =           29.9876543 / [deg] Current telescope declination

GSRA    =           20.0103456 / [h] Right ascension of guide star

GSDEC   =           29.9806543 / [deg] Declination of guide star

Instrument detector configuration:

DETECTOR= 'RSC Hawaii 2'       / Type of detector array used

DETECTID= 'a.bc.123'           / Serial number of detector array

NINT    =                    1 / Number of integrations in observation

DROWS   =                 2048 / [pixel] Number of detector rows

DCOLUMNS=                 2048 / [pixel] Number of detector columns

RDOUT_X1=                    1 / Start column of array readout

RDOUT_X2=                 2048 / Start column of array readout

RDOUT_Y1=                    1 / Start row    of array readout

RDOUT_Y2=                 2048 / Start row    of array readout

PIXLSIZE=               0.4000 / [arcsec] Pixel size

Detector controller:

PCSYSID = 'ness    '           / PC system identifier

SDSUID  = '00222   '           / Serial number of SDSU controller

READMODE= 'CDS_v1  '           / Name of camera readmode

CAPPLICN= 'applic01'           / Name of camera readout application

CAMROLE = 'master  '           / Camera role (master|slave|unsync)

READOUT = 'CDS     '           / Camera readout (CDS|NDR|SAR|RRR)

EXP_TIME=             1.000000 / [s] Integration time per exposure

NEXP    =                    1 / Number of exposures in integration

READINT =             1.000000 / [s] Interval between reads

NREADS  =                    0 / Number of reads per exposure

GAIN    =                  1.0 / [electrons/ADU] Detector gain

Instrument optical configuration:

FILTER  = 'whatever'           / Filter name

FOC_MM  =                12.34 / [mm] Base focus position

Environment:

AIRTEMP =                5.785 / [degC] Air temperature

BARPRESS=              650.000 / Ambient pressure

DEWPOINT=                2.000 / [degC] Dewpoint

DOMETEMP=                7.095 / [degC] Dome temperature

HUMIDITY=               35.450 / Relative humidity

MIRRBSW =                7.123 / [degC] Temperature mirror B SW

MIRRNE  =                7.124 / [degC] Mirror temperature NE

MIRRNW  =                7.125 / [degC] Mirror temperature NW

MIRRSE  =                7.126 / [degC] Mirror temperature SE

MIRRSW  =                7.127 / [degC] Mirror temperature SW

MIRRBTNW=                7.128 / [degC] Mirror bottom temp. NW

MIRRTPNW=                7.129 / [degC] Mirror top temp. NW

SECONDAR=                7.130 / [degC] Temperature of secondary

TOPAIRNW=                7.131 / [degC] Top air NW

TRUSSENE=                7.132 / [degC] Truss leg ENE

TRUSSWSW=                7.133 / [degC] Truss leg WSW

WIND_DIR=              106.987 / [deg] Wind direction, azimuth

WIND_SPD=               16.089 / [km/h] Wind speed

CSOTAU  =                0.047 / Tau at 225 GHz from CSO

TAUDATE = '2001-11-30T04:07'   / Time and date of Tau reading

TAUSRC  = 'CSO     '           / Source of opacity data

Engineering:

CNFINDEX=                    1 / Configuration index

DET_TEMP=                 25.0 / [K] Detector array temperature

## Definition of frame level FITS headers

| FITS name | FITS comment | UKIRT source | Engineering source |
| --- | --- | --- | --- |
| UTSTART | [h] Start time of integration | data | data |
| UTEND | [h] End time of integration | data | data |
| FOC_I | Serial number in focus scan | data | data |
| FOC_OFF | [mm] Offset from base focus position | data | data |

### Example of frame level FITS headers

UTSTART =            15.696944 / [h] Start time of integration

UTEND   =            15.697222 / [h] End time of integration

FOC_I   =                    0 / Serial number in focus scan

FOC_OFF =                0.000 / [mm] Offset from base focus position