| Review Title: |  |  | Discrepancy |
| --- | --- | --- | --- |
| VISTA Data Flow System | Review Item |  | Clarification |
|  |  | X | Observation |

| RI No: | FCT-001 |
| --- | --- |
| Review Item |  |
| Document Title: | VISTA Infra Red Camera Calibration Plan |
| Document No: | VIS-SPE-IOA-20000-0002 |
| Document Originator: | Peter Bunclark |

| Discrepancy/Clarification Required/Observation: Section 2, last paragraph: DFS pipeline handling the set of observed files from the OB as an ensemble: this is a departure from current DFS pipeline procedures that act on templates, not OBs. Action Recommended by Initiator: Confirm the need for pipeline processing done at the level of OBs Date/Signature of Initiator: 28 April 2003, F. Comerón |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| RI Classification: (to be completed by Board Chairperson) |  |  |  |  |  |  |
| Major | Minor |  | Withdrawn |  |  |  |
| Date/Signature Chairperson: |  |  |  |  |  |  |
| Actionee Corrective Action: Date/Signature Actionee: |  |  |  |  |  |  |
| Board Disposition: RI Closed: RI Closed with Actions: Date/Signature Chairperson: |  |  |  |  |  |  |
| Review Title: |  |  |  |  | Discrepancy |  |
| VISTA Data Flow System |  | Review Item |  |  | Clarification |  |
|  |  |  |  | X | Observation |  |

| RI No: | FCT-002 |
| --- | --- |
| Review Item |  |
| Document Title: | VISTA Infra Red Camera Calibration Plan |
| Document No: | VIS-SPE-IOA-20000-0002 |
| Document Originator: | Peter Bunclark |

| Discrepancy/Clarification Required/Observation: Section 8.2.1.1.1, LOWFS stars found by P2PP Action Recommended by Initiator: Clarify what is meant by P2PP identifying LOWFS stars. This is well outside current functionality of P2PP and seems closer to guide camera functions Date/Signature of Initiator: 28 April 2003, F. Comerón |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| RI Classification: (to be completed by Board Chairperson) |  |  |  |  |  |  |
| Major | Minor |  | Withdrawn |  |  |  |
| Date/Signature Chairperson: |  |  |  |  |  |  |
| Actionee Corrective Action: Date/Signature Actionee: |  |  |  |  |  |  |
| Board Disposition: RI Closed: RI Closed with Actions: Date/Signature Chairperson: |  |  |  |  |  |  |
| Review Title: |  |  |  |  | Discrepancy |  |
| VISTA Data Flow System |  | Review Item |  |  | Clarification |  |
|  |  |  |  | X | Observation |  |

| RI No: | FCT-003 |
| --- | --- |
| Review Item |  |
| Document Title: | VISTA Infra Red Camera Calibration Plan |
| Document No: | VIS-SPE-IOA-20000-0002 |
| Document Originator: | Peter Bunclark |

| Discrepancy/Clarification Required/Observation: Section 8.2.1.2.5: same as RI No. 2 Action Recommended by Initiator: Same as for RI No. 2 Date/Signature of Initiator: 28 April 2003, F. Comerón |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| RI Classification: (to be completed by Board Chairperson) |  |  |  |  |  |  |
| Major | Minor |  | Withdrawn |  |  |  |
| Date/Signature Chairperson: |  |  |  |  |  |  |
| Actionee Corrective Action: Date/Signature Actionee: |  |  |  |  |  |  |
| Board Disposition: RI Closed: RI Closed with Actions: Date/Signature Chairperson: |  |  |  |  |  |  |
| Review Title: |  |  |  |  | Discrepancy |  |
| VISTA Data Flow System |  | Review Item |  |  | Clarification |  |
|  |  |  |  | X | Observation |  |

| RI No: | FCT-004 |
| --- | --- |
| Review Item |  |
| Document Title: | VISTA Infra Red Camera Calibration Plan |
| Document No: | VIS-SPE-IOA-20000-0002 |
| Document Originator: | Peter Bunclark |

| Discrepancy/Clarification Required/Observation: Section 4.5: why should a dark exposure be taken with the same dome illumination as the dome flats? Action Recommended by Initiator: Confirm that this is really what is meant Date/Signature of Initiator: 28 April 2003, F. Comerón |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| RI Classification: (to be completed by Board Chairperson) |  |  |  |  |  |  |
| Major | Minor |  | Withdrawn |  |  |  |
| Date/Signature Chairperson: |  |  |  |  |  |  |
| Actionee Corrective Action: Date/Signature Actionee: |  |  |  |  |  |  |
| Board Disposition: RI Closed: RI Closed with Actions: Date/Signature Chairperson: |  |  |  |  |  |  |
| Review Title: |  |  |  |  | Discrepancy |  |
| VISTA Data Flow System |  | Review Item |  |  | Clarification |  |
|  |  |  |  | X | Observation |  |

| RI No: | FCT-005 |
| --- | --- |
| Review Item |  |
| Document Title: | VISTA Infra Red Camera Calibration Plan |
| Document No: | VIS-SPE-IOA-20000-0002 |
| Document Originator: | Peter Bunclark |

| Discrepancy/Clarification Required/Observation: Section 8.2.1.2.1 (and elsewhere in the same document): the definition of offset patterns in the acquisition template is possible but unusual; such definition is normally done within the _obs_ templates in other VLT instruments. It might reduce flexibility in OBs containing observations in two different filters for which different offset patterns may be desired. Action Recommended by Initiator: Reconsider whether such definition should rather be moved to the _obs_ templates. Date/Signature of Initiator: 28 April 2003, F. Comerón |  |  |
| --- | --- | --- |
| RI Classification: (to be completed by Board Chairperson) |  |  |
| Major | Minor | Withdrawn |
| Date/Signature Chairperson: |  |  |
| Actionee Corrective Action: Date/Signature Actionee: |  |  |
| Board Disposition: RI Closed: RI Closed with Actions: Date/Signature Chairperson: |  |  |